#### Energized Electrical Work Permit

#### To be completed by the Requester:	Work Order Number

#### Location of Building/Equipment/Circuit:

#### Description of Work:

#### Justification for circuit/equipment to be energized while work performed:

#### Requester/Title	Date

#### To be completed by the Electrically Qualified persons performing the work:

#### Check When

#### Complete

#### (1) Detailed job description procedure to be used in performing the above task:

#### (2) Description of the Safe Work Practices to be employed:

#### (3) Results of the Shock Hazard Analysis:

#### (4) Results of the Shock Protection Boundaries:

#### (5) Results of the Flash Hazard Analysis:

#### (6) Determination of the Flash Protection Boundary:

#### (7) Necessary Personal Protective Equipment to safely perform assigned task:

#### (8) Means employed to restrict access of unqualified persons from the area:

#### (9) Job briefing, including a discussion of any job-specific hazards, completed:

#### (10) Do you agree the above described work can be done safely?	Yes	No	(If no, return to requester)

#### Electrically Qualified Person(s) Assigned:			Date:

#### Approval to Perform Work While Electrically Energized:

#### I & C Manager or Authorized/Electrically Knowledgeable Qualified Person:

#### Job Title:			Date:

# Text boxes

Forward to Safety Department when work is complete for review and retention.

In Case Of Emergency Contact Phone Operator (Base) by Radio Emergencies

911

Phone Number For All Emergencies

911